## Slide 1: Membrane Dialysis Model

## Slide 2: Model Representation: Hollow Fiber
The transport of the species is modeled with the Transport of Diluted Species interface
Transport occurs through diffusion and convection
Schematic description of a hollow fiber. The discontinuities between the dialysate and permeate with the membrane are described with partition coefficients.

## Slide 3: Example With Two Membrane Layers

## Slide 4: Model Definition
Diffusion-convection in the channels
Diffusion in the two membrane layers with two different diffusivities and with partition coefficients:
Transport of one diluted solute that enters at the bottom of the left channel
,
Dialysate
Permeate
Membrane 1
Membrane 2

## Slide 5: Boundary Conditions
Partition coefficient K governs the phase equilibrium:
The boundary condition on the “other side” is:
Analogous for membrane-membrane boundaries when two layers are used
Dialysate
Permeate
Membrane
c1
c2
c1
Concentration profile

## Slide 6: Results: Solute concentration
The flux is continuous over the membrane boundaries
The concentration is discontinuous and the partition coefficient determines the extent of the “jump” in concentration

## Slide 7: Results: Solute concentration
The flux is continuous over the membrane boundaries
The concentration is discontinuous and the partition coefficient determines the extent of the “jump” in concentration

## Slide 8: Model Definition
Time-dependent problem
Tank connected to the membrane unit
Residence time in the tank = 100 s
Initial condition in the membrane unit:
  Stationary solution for an inlet solute concentration of 100 mol/m3
Initial condition in the tank
  Solute concentration of 100 mol/m3
Dialysate
Permeate

## Slide 9: Implementation in COMSOL
Two model components
  2D membrane unit
  0D continuous stirred tank reactor (CSTR with no reactions)
Coupling between components
  Flow out from the membrane unit defined as feed to the CSTR
    Concentration
    Volumetric feed rate
  Flow out from the CSTR defined as inlet condition to the membrane unit
    Concentration

## Slide 10: Results of Time-Dependent Study

## Slide 11: Results of Time-Dependent Study